| General Information |  |  |  |  |
| --- | --- | --- | --- | --- |
| Person(s) and/or Department Requesting LT Lockout: Click to enter text |  |  |  |  |
| Building or work area where Lock will be applied: Click to enter text |  |  |  |  |
| Lockout Procedure #: Click to enter text |  |  |  |  |
| Asset # & Equipment Name: Click to enter text |  |  |  |  |
| Number of locks required: Click to enter text |  |  |  |  |
| Estimated length of lockout: Click to enter text |  |  |  |  |
| Reason Lock needs to be placed: Click or tap here to enter text. |  |  |  |  |
| Hazard Identification Questions (check all that apply) |  |  |  |  |
| YES NO |  |  | Describe Safeguards and Actions Required |  |
| ☐ | ☐ | Owner/occupant has been notified? |  | Ensure people are aware of the lockout and why this has taken place. |
| ☐ | ☐ | Have you verified that energy has been fully removed beyond the lockout? |  | Ensure there is no residual energy beyond the lockout point using the same process noted on the LOTO procedure. |
| ☐ | ☐ | Are all covers and guards replaced and secured? |  | Never leave equipment open. |
| ☐ | ☐ | Tags with contact information and reason for lockout are in place? |  | Employees must know who to contact if they have questions regarding the lockout. |
| As the supervisor, ☐ I certify that the long-term lockout plan has been reviewed and determined as necessary. or ☐ The request is denied, and other steps will be taken to provide a safe situation, including disabling the equipment further upstream or removing it altogether to eliminate the need for a long-term lockout. Supervisor Name: Click to enter text Signature:_____________________________ Date:________ Received by EH&S: Click to enter text Date: ____________________ If approved, take a copy of this form to the UCR Facilities Lock Shop to be issued a LT lock(s). |  |  |  |  |